Guidelines for Class Test # 02 of Metrology & Statistical Quality Control

Format of Test: Subjective,  	Maximum Marks: 10 , Time Allowed: 90 Minutes

No. of Questions in Paper : 12,   No. of Questions to attempt for: Any three

Date of Conduct: 28/04/2012

Test Course Contents:

| Sr# | TITLE / Contents |
| --- | --- |
| 01 | Principle of Measuring Instruments Definitions, Classification of measuring equipments, Technical Specification of measuring instruments, Principle of Mechanical Measuring Instruments, Principle of Optical Instruments |
| 02 | Basic Measuring Instrument Engineer’s Steel Rule, Calipers, Vernier Calipers, Vernier Height Gauge, Vernier Depth Gauge, Micrometers, Advantages & Limitation of Commonly used Precision Instruments |
| 03 | Angle & Taper Measurements Angular Measurement; Introduction, Instruments for angular measurements Taper Measurement; Gauges for Tapers, Taper measuring instruments |
| 04 | Comparators The Comparator, Desirable features of a comparator, use of comparator, Types of comparators, mechanical comparators, Optical Comparators, Electrical & Electronic Comparators, Pneumatic Comparators, Limit Gauges, Selection of Comparator |
| 05 | Measurement of Surface Finish Introduction, Surface Texture, Methods of Measuring Surface Finish; Surface Inspection by Comparison Methods, Direct Instrument Measurement. Sample length or cut-off length, numerical evaluation or surface texture, |
| 06 | Optical Measuring Devices Introduction, Magnifier, Microscopes; principle of microscope, general optical system of microscope, types of micros scope. |
| 07 | Straightness, Flatness, Squareness & Parallelism Introduction, Straightness; defn of straightness of the line in two planes, straight edge, measurement of straightness. Flatness; defn, flatness measurement. |