Dawood College Of Engineering and Technology, Karachi

Metrology and Statistical Quality Control

Course Objectives & Scope:

Objectives: The course exposes the students to the principles of measurement, gauges and modern quality concepts and their practical use. This will also refresh the basic statistical & probability techniques and their usages in quality application.

Scope:  At completion of degree with the course of Metrology and Statistical Quality Control, students find confidence for applying the jobs in testing, inspection and quality control.

Recommended Books:

1.	Metrology & Gauging

By: S.A.J. Parson……..any latest edition

2.	Engineering Metrology & Instrumentation

By: R.K. Rajput

2.	Metrology for Engineers

By: J.F.W. Galyer & C.R. Shotbolt……any latest edition.

3.	Practical Metrology

By: G.H. Sharp……..any latest edition

4.	Quality Control

By: D.H. Besterfield, Pearson Edition.

5.	 Introduction to Statistical Quality Control

By: Douglas C. Montgomery.

Department Of Industrial Engineering and Management

Dawood College Of Engineering and Technology, Karachi

METROLOGY & STATISTICAL QUALITY CONTROL <Theory>

5th Semester Batch: 2010

COURSE OUTLINES

| Sr# | TITLE / Contents |
| --- | --- |
| 01 | Introduction Metrology, Objectives of Metrology, Necessity & Importance of Metrology, Standards of Measurement. Limits, Fits & Tolerance. Methods for achieving Precision & Accuracy, Sources of errors, classification of measuring instruments, classification of methods of measurements, Selection of Instruments, Care & Handling of Equipment & Apparatus, Gauges |
| 02 | Principle of Measuring Instruments Definitions, Classification of measuring equipments, Technical Specification of measuring instruments, Principle of Mechanical Measuring Instruments, Principle of Optical Instruments |
| 03 | Basic Measuring Instrument Engineer’s Steel Rule, Calipers, Vernier Calipers, Vernier Height Gauge, Vernier Depth Gauge, Micrometers, Advantages & Limitation of Commonly used Precision Instruments |
| 04 | Angle & Taper Measurements Angular Measurement; Introduction, Instruments for angular measurements Taper Measurement; Gauges for Tapers, Taper measuring instruments |
| 05 | Measurement of Ircularity Ircularity, Roundness & Ircularity, Types of Irregularities of ircular part, Measurement of ircularity devices used, Measurement of roundness & machine shafts |
| 06 | Comparators The Comparator, Desirable features of a comparator, use of comparator, Types of comparators, mechanical comparators, Optical Comparators, Electrical & Electronic Comparators, Pneumatic Comparators, Limit Gauges, Selection of Comparator |
| 07 | Measurement of Surface Finish Introduction, Surface Texture, Methods of Measuring Surface Finish; Surface Inspection by Comparison Methods, Direct Instrument Measurement. Sample length or cut-off length, numerical evaluation or surface texture, adverse effects of poor surface finish |
| 08 | Optical Measuring Devices Introduction, Magnifier, Microscopes; principle of microscope, general optical system of microscope, types of micros scope. Accuracy of microscope, Optical Projectors, Telescopes, collimator. |
| 09 | Straightness, Flatness, Squareness & Parallelism Introduction, Straightness; defn of straightness of the line in two planes, straight edge, measurement of straightness. Flatness; defn, flatness measurement. Squareness, Parallelism |
| 10 | Control Charts for Variables, Additional SPC Techniques for variables, Control Charts for Attributes, Lot by lot Acceptance Sampling by Attributes, Acceptance Sampling System, Reliability: |

Course Instructor: _____________________

Engr. Ghulam Sarwar

(Assistant Professor)

Department Of Industrial Engineering and Management

Dawood College Of Engineering and Technology, Karachi

METROLOGY & STATISTICAL QUALITY CONTROL <Theory>

5th Semester Batch: 2010

LESSON PLAN

Subject Teacher: Engr. Ghulam Sarwar

| Schedule | TITLE / Contents |
| --- | --- |
| Week#01 | Introduction: Metrology, Objectives of Metrology, Necessity & Importance of Metrology, Standards of Measurement. Limits, Fits & Tolerance |
| Week#02 | Introduction: Methods for achieving Precision & Accuracy, Sources of errors, classification of measuring instruments, classification of methods of measurements, Selection of Instruments, Care & Handling of Equipment & Apparatus, Gauges |
| Week#03 | Principle of Measuring Instruments: Definitions, Classification of measuring equipments, Technical Specification of measuring instruments |
| Week#04 | Principle of Measuring Instruments: Principle of Mechanical Measuring Instruments, Principle of Optical Instruments |
| Week#05 | Basic Measuring Instrument Engineer’s Steel Rule, Calipers, Vernier Calipers, Vernier Height Gauge, Vernier Depth Gauge, Micrometers, Advantages & Limitation of Commonly used Precision Instruments |
| Week#06 | Angle & Taper Measurements: Angular Measurement; Introduction, Instruments for angular measurement |
| Week#07 | Angle & Taper Measurements: Taper Measurement; Gauges for Tapers, Taper measuring instruments |
| Week#08 | Measurement of Ircularity: Ircularity, Roundness & Ircularity, Types of Irregularities of ircular part, Measurement of ircularity devices used, Measurement of roundness & machine shafts |
| Week#09 | Comparators: The Comparator, Desirable features of a comparator, use of comparator, Types of comparators, mechanical comparators |
| Week#10 | Comparators: Optical Comparators, Electrical & Electronic Comparators, Pneumatic Comparators, Limit Gauges, Selection of Comparator |
| Week#11 | Measurement of Surface Finish Introduction, Surface Texture, Methods of Measuring Surface Finish; Surface Inspection by Comparison Methods, |
| Week#12 | Measurement of Surface Finish Direct Instrument Measurement. Sample length or cut-off length, numerical evaluation or surface texture, adverse effects of poor surface finish |
| Week#13 | Optical Measuring Devices Introduction, Magnifier, Microscopes; principle of microscope, general optical system of microscope, types of micros scope |
| Week#14 | Optical Measuring Devices Accuracy of microscope, Optical Projectors, Telescopes, collimator |
| Week#15 | Straightness, Flatness, Squareness & Parallelism Introduction, Straightness; defn of straightness of the line in two planes, straight edge, measurement of straightness |
| Week#16 | Straightness, Flatness, Squareness & Parallelism Flatness; defn, flatness measurement. Squareness, Parallelism |
| Week#17 | Control Charts for Variables, Additional SPC Techniques for variables, Control Charts for Attributes, Lot by lot Acceptance Sampling by Attributes, Acceptance Sampling System, Reliability: |

Department Of Industrial Engineering and Management

Dawood College Of Engineering and Technology, Karachi

METROLOGY & STATISTICAL QUALITY CONTROL <Practical>

5th Semester Batch: 2010

OBJECT LIST

Lab Incharge      : Engr. Ghulam Sarwar

Laboratory: Metrology					Location: 3rd Floor Dept.of I.E. & Mgt

Spring Semester start:  ____________			 Suspension of Classes: _________

| Lab Schedule | Object List | Instrument/Device/Apparatus |
| --- | --- | --- |
| Week#01 | To Stuy Micro meter , its use and measuring principle | Standard Micrometer |
| Week#02 | To Study components of vernier caliper, types of measurement that can be taken and causes of error in measurement | Standard Vernier caliper |
| Week#03 | To Take Reading by Vernier caliper with repeatability of various specimen, and make chart | Standard Vernier caliper |
| Week#04 | To Determine the angularity of work piece surface with Universal Bevel Protractor, also make up various angles | Universal Bevel Protractor |
| Week#05 | Use of Dial Indicator for checking, tolerances, roundness, evenness, parallelism, and eccentricity | Dial Indicator |
| Week#06 | To stuy height gauge, its components and measuring principle | Height Gauge |
| Week#07 | To Study inside and outsied calipers | Inside/outside caliper |
| Week#08 | To Study working principle of Snap gauges | Snap Gauge |
| Week#09 | To Study working principle and limitations of Plug gauges | Plug gauge |
| Week#10 | To study working principle of Lever Indicator | Lever Indicator |
| Week#11 | To study various attachements/accessories of Micrometer | Attachements/accessories of micrometer |
| Week#12 | To Stuy use/working principle of contour gauge | Contour gauge |
| Week#13 | To study components and uses of Luxmeter | Luxmeter |
| Week#14 | To study various attachements/accessories of Micrometer | Attachements/accessories of micrometer |
| Week#15 | To Stuy Block gauges (i.e slip gauges) and their measuring mechanism | Block gauge |
| Week#16 | To Study working principle of Snap gauges | Snap Gauge |

Lab Incharge: _____________________

Engr. Ghulam Sarwar

(Assistant Professor)